AG MECH					NAME_______________

GENERAL SAFETY RULES		DATE_______________

The Work Area

1.The work area must have a fireproof floor.  Concrete is best.

2.Use heat resistant shields to protect walls and unprotected flooring from sparks and hot metal

3.Maintain adequate ventilation to prevent the accumulation of toxic fumes and gases.

4.Oxygen itself will not burn; however,the presence of pure oxygen will accelerate combustion and cause materials to burn with great intensity!

5.Oil and grease in the presence of oxygen can ignite and burn violently!

6.Use tables with fireproof tops. Firebricks work well to protect table and bench surfaces.

7.Chain or otherwise secure cylinders to a wall, bench, or cart.

Protective Clothing

1.Protect yourself from sparks, flying slag, and flame brilliance at all times.

2.Wear cutting glasses or goggles shaded 5 or darker.

3.Wear protective gloves, sleeves, and shoes to protect the skin from sparks and slag.

4.Keep protective clothing free of oil and grease.

Fire Prevention

1.Inspect oxy-fuel apparatus for oil, grease, or damaged parts. DO NOT USE the oxy-fuel apparatus if oil or grease is present or if damage is evident.

2.Never use oil or grease on or around any oxy-fuel apparatus.

3.Even a trace of oil or grease can ignite and burn violently in the presence of oxygen.

4.Keep flames, heat and sparks away from cylinders and hoses.

5.Flying sparks can travel up to 35 feet.  Make sure the area is free of combustibles.

6.Have a fire extinguisher of the proper type and size on hand in the work area, know where they are located in the shop.

7.Use the oxy-fuel equipment only with the gases for which it is intended.

8.DO NOT open the acetylene valve more than 1 full turn.  Be sure the cylinders can be turned off quickly if necessary.

9.Open the oxygen valve ALL THE WAY to seal the cylinder back seal packing.

10.Never test for leaks with a flame.  Use soapy water.

11.After work is complete, inspect the area for any possible fires or smoldering materials.

General Precautions

1.Pure oxygen will accelerate combustion to the point that it can cause an explosion.

2.Fuel gasses (acetylene) can be toxic.  Work in well ventilated areas only.

3.Do not use oxygen as compressed air.

4.Do not use oxygen to dust off clothing or the work area.

5.Use the correct size wrench when tightening or loosening fittings.  They are made of brass and can be damaged easily.

6.When not in use, cylinders must have a protective cap installed.

7.Stand to the side of the equipment when opening the cylinder valves, and open them slowly.  This will limit the risk of injury due to exploding regulators.

8.Oxygen cylinders contain pressures over 2000 PSI and must be handled carefully.

9.Acetylene is unstable at pressures above 15 PSI

10.Only use a friction lighter (striker) to light your torch.

11.Hot metal left out should be marked “HOT” so the others will not be burned by it.

12.Be aware of individuals around you and be concerned about their safety.

13.Do not cut directly on top of concrete.  The concrete will pop and explode.

14.Cool heated / cut metal in the dunk tank.

15.Keep the area between you and the cylinders clear and the cylinder valves unobstructed.

16.Do not weld or cut on a closed container.

17.Never leave a lit torch unattended.

18.Use pliers or tongs to grab hot metal.

19.Disturbing another student while he / she is working is dangerous.

20.You should caution any other student you see violating a safety rule.

21.Safety depends on you.

22.Before turning the cylinder on, make sure the regulator adjustment screw is turned counterclockwise until loose.

23.Burning clothing should be smothered quickly.

24.Inspect the hoses frequently and, when necessary, replace them.

25.Horseplay and running are not allowed in the shop.

26.Do not point or gesture with a lit torch.

27.Do not throw objects in the class or shop.

28.Report all injuries to the instructor.

29.Do not use someone else’s lit torch to light your own.

30.Wear leather welding gloves when welding or cutting.